Mobile Noise Monitoring

Indoor and ambient noise monitoring with mobile decibel meter

# A close-up of a calculator Description automatically generated with medium confidence

# Features and Specifications

* 1-second noise sampling
* Increased capacity for storage up to 4 GB
* ISO Certified Calibration
* Resolution: 0.1 dB
* Range: 30 to 130 dB
* *Cannot* record audio

Stationary Noise Monitoring

Ambient noise monitoring with stationary, WiFi-equipped decibel meter

Text, whiteboard

Description automatically generated

# Features and Specifications

* 1-second noise sampling
* Indoor and outdoor use
* Wall-mounted
* WiFi-enabled
* Range: 30 to 120 dB
* 16 GB storage
* Weatherproof
* *Cannot* record audio